ControlIQ - Tips

“We stay apart today, so we can gather together tomorrow”

This is shared information between ControlIQ properties of ideas to help you through the COVID-19 pandemic.   When this is over, we need to make sure our buildings are healthy too.  Please share your comments with us and others.  Send to Support@ControlIQ.Com	and well will add to this list.

Don’t forget chemical treatment needs to be watched and run the circulating pumps.  Hilton New York – March 26, 2020

Run some of your supply and exhaust fans routinely to mitigate mold and odors in meeting rooms, ballrooms, and other isolated locations.  Hilton Millennium – March 23, 2020